[image: image1.emf]                                 
    
	 Job  Safety  Analysis Sheet 


	JOB  DESCRIPTION: Functional testing & loop Checking of a Level Transmitter   
	JSA Ref. No. JSA /  KOC / 25

	Facility: 

	Work Area / Equipment:


	Permit No. 

Date: 

	PERSONAL PROTECTIVE EQUIPMENT & TOOLS: Hard Hat, Safety Shoes, Hand Gloves, Coverall, Portable Radio  

	SEQUENCE  OF  BASIC JOB  STEPS
	POTENTIAL HAZARDS
	Yes / No
	PRECAUTIONS

	Planning 
	Non – compliance of HSE MS Procedures
	
	· Refer HSEMS Procedure - Doc. No. SA.KOC.004 “Permit to Work”.
· Take a Cold Work Permit from Asset Owner.

	
	Non – availability of Spares
	
	· Ensure the availability of spare transmitter, switch & other hardware for replacement of defective items.  

· Refer manufacturer instruction for replacement of transmitter or other items. 

	
	Unintended Tripping / Shutdown of the unit 
	
	· Evaluate the risk & override the tripping action for high high or low low alarm.
· Record the override in the “Override Register”.

· Take the unit out of service In case the job can not be done on line.

	
	Wrong Identity of Transmitter 
	
	· Ensure the identity of Transmitter through Tag No.

	Functional Testing 
	Lack of Communication  
	
	· Maintain a radio communication between worker at transmitter location in the field and the person stationed at Control Room

	
	Parameters Upset
	
	· Monitor the level physically through the sight glass and inform the operator accordingly to open / close the valve in manual mode.

	
	Carry over of crude oil from vessel / tank to flare 
	
	· Keep a close watch of level indication in DCS as well as through the sight glass at equipment (vessel / tank) location and take control measures accordingly.

	
	Fault / Actual Alarm  
	
	· Confirm the alarm through radio communication; whenever the transmitter is isolated, calibrated, lined up, level troll drained etc. 

	
	Electric Shock  
	
	· Take precautions while opening junction box or cable terminal.

· Use rubber insulated gloves if required.

· Refer manufacturer instruction for opening, servicing & closing of junction box.  

	
	Spark Potential   
	
	· In case the  junction box for “Transmitter” is opened for servicing or maintenance; ensure the closure of cable terminals as well as junction box conforms to respective hazardous area classification  

	
	Loss of signal to DCS 
	
	· Confirm the transmitter line up after functional testing & calibration. 

	Windup & Housekeeping
	Scattered Material 
	
	· Ensure proper wind up & housekeeping at worksite. 
· Evaluate the risk & remove the override after resetting the alarm. 

	Additional Hazards

(Other than indicated above) 
	
	

	JSA Done By 
	Name:                                                                   Designation: 

KOC / ID. No.                                                       Company: 

Controlling Team:                                                 Contract No.(If Applicable):

Signature:                                                             Date: 


